SPARE PARTS LIST OF S903 TOP S/S-6D
	N0.
	CODE
	NAME
	MODEL
	QUY.
	MATERIAL
	REMARK
	PRICE（USD/PC）

	01
	S900.01
	MAIN SWITCH
	DRH-2415-3
	1PC
	
	
	1.5

	02
	S900.02
	THERMOSTAT
	XR20C
	1PC
	
	
	23

	03
	S900.03
	PLASTIC CAP
	Ф13
	8PCS
	PLASTIC
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	10
	S901.06
	SIDE SUPPORT/LEFT/RIGHT
	
	4PCS
	STAINLESS
	
	1.95

	11
	S900.13
	FEET
	
	4PCS
	
	
	1

	12
	S900.14
	DRAIN PIPE NUT
	
	1PC
	PLASTIC
	
	0.52

	13
	S900.15
	DRAIN PIPE
	
	1PC
	PLASTIC
	
	0.52

	14
	S900.16
	DRAIN PIPE COVER
	
	1PC
	PLASTIC
	
	0.26

	15
	S903.01
	BODY
	
	1PC
	
	
	

	17
	S903.01
	TOP HINGE
	
	2PCS
	STAINLESS
	
	

	18
	S903TOP.01
	TOP
	
	1PC
	STAINLESS
	
	60

	19
	S901.03
	AIRFLOW DUCT
	
	2PCS
	STAINLESS
	
	6.5

	20
	S900.31
	SENSOR FIXED CLIP
	
	1PC
	STAINLESS
	
	0.65

	21
	S900.32
	SENSOR
	
	1PC
	
	
	3

	22
	S901.04
	CIRCLE FAN SUPPORT
	
	2PCS
	STAINLESS
	
	7.8

	23
	S901.34
	CIRCLE FAN
	9225
	2PCS
	
	
	8

	24
	S903.05
	COMPRESSOR
	GVY75AA
	1PC
	
	
	80

	26
	S900.36
	DISCHARGE TUBE
	Ф6
	1PC
	COPPER
	
	1.95

	27
	GN650TN.34
	CONDENSER FAN
	CA01-01/Ф200
	1PC
	
	
	12

	28
	S903.06
	CONDENSER COVER BOARD
	
	1PC
	ZINCIFY STEEL
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	29
	GN650TN.38
	CONDENSER
	
	1PC
	
	
	25

	30
	S903.08
	FILTER
	
	1PC
	
	
	2

	31
	S1410TN.14
	FILTER DRIER
	25g
	1PC
	XH-9
	
	1.3

	32
	GN650TN.46
	BASKET GUARD GRILLS
	Ф246
	1PC
	COATER STEEL
	
	2

	33
	S903.09
	UNIT BOARD
	
	1PC
	ZINCIFY STEEL
	
	13

	N0.
	CODE
	NAME
	MODEL
	QUY.
	MATERIAL
	REMARK
	PRICE（USD/PC）

	34
	S900.43
	CAPILLARY
	Ф1.15×3000
	1PC
	COPPER
	
	4

	35
	S900.40A
	WATER PAN
	
	1PC
	STAINLESS
	
	4

	36
	S900.47
	PLUG
	LT312/1.5MM2×3G
	1PC
	
	
	2.6

	37
	S900.48
	JUNCTION BOX
	
	1PC
	ZINCIFY STEE
	
	1.95

	38
	S903.11J9
	FRONT PANEL

	1290×267×19
	1PC
	STAINLESS
	
	16

	39
	SET2D.02
	DRAWER
	GN1/1x6〃
	6PCS
	STAINLESS
	
	60

	40
	SET3D.08
	GUIDE (LEFT)
	L=550
	6PCS
	STAINLESS
	
	25

	41
	SET3D.07
	GUIDE(RIGHT)
	L=550
	6PCS
	STAINLESS
	
	25

	42
	SET2D.01
	GASKET
	SET 2 DRAWER
	6PCS
	PVC
	
	2

	43
	SET3D.03
	SCREW
	M4
	6PCS
	STAINLESS
	
	0.3

	44
	SET3D.04
	WASHER
	
	6PCS
	STAINLESS
	
	0.2

	45
	SET3D.02
	BRIDGE
	
	3PCS
	FOAMED S/S
	
	5

	46
	S901.18M
	BACK SUPPORT/RIGHT/LEFT
	
	4PCS
	STAINLESS
	
	1.56

	47
	S901.18
	BACK SUPPORT/RIGHT/LEFT
	
	2PCS
	STAINLESS
	
	1.56


